Application of the Holographic Radar Technology in Medicine
for Remote Monitoring of Human’s Breath and Pulse

A. Bugaev, V. Chapursky, S. Ivashov,
V. Razevig, A. Sheyko, I. Vasilyev

Remote Sensing Laboratory,
Research Institute of Applied Mathematics and Mechanics
Bauman Moscow State Technical University

T. Bechtel
University of Pennsylvania, PA, USA

The main objective of the project is creation of effective radar technologies for remote detection and registration of breathing and heart beat parameters of a human on a background of reflections by local objects and optically nontransparent obstacles (bio-radiolocation). The main advantage of bio-radiolocation is the possibility to detect remotely any presence of humans behind lightproof obstacles and obtain information about human functional condition. Search for live people blocked under ruins, after disasters such like earthquakes, avalanches, industrial accidents, etc., is very important.

Potential areas of bio-radiolocation application may include:

- somnology, or patient monitoring at sleep with the purpose to detect sleep disfunctions such as sleep apnea/hypopnea syndrome;

- cardioreanimation when application of contact sensors is difficult or impossible;

- functional diagnostics, the implementation as a diagnostic feedback with the purpose to evaluate therapy effectiveness (by medicine or physiotherapy) by the analysis of heart rate slow variations; study of heartbeat and breath rhythms interaction;

- patient’s heart rate and breathing monitoring when application of contact sensors is difficult or impossible, e.g. monitoring of a patient with burns.

- fetus monitoring instead of application of existing contact ultrasound sensors requiring a direct contact with a patient;

- evaluation of blood vessels elasticity by measuring blood pressure impulse speed during heartbeat, which can be used to determine susceptibility to heart diseases;

- non-contact evaluation of the psycho-emotional human condition, e.g. the emotional condition of machinery complex operators.

In some of the application areas mentioned above, especially when detecting movements of human behind building constructions, there already exist experimental radiolocation devices or prototypes. However, medical applications lack for research and approvement, which can be associated with the absence or imperfection of application technique with the aid of bio-radiolocation equipment.

The existing prototypes and models of radars implement both continuous-wave and video pulse (time-domain impulse) signals differing significantly in design complexity. The simplest of them have an LED diode as an indicator and no range selection, while others may have a color LCD display and high range resolution. The radars with continuous-wave single-frequency signals have the simplest signal processing such as detection of reflected signal low frequency components by means of the Fourier transform and have no range resolution. The radars with video pulse signals may have range resolution but have a short detection range. It is worth mentioning that no one device have found any significant area of use. This can be explained by small equipment sensitivity when sensing through obstacles, e.g. detection of people buried alive under ruins after disaster, low noise immunity, and the absence of angular selection.

The main stress in the proposed project is laid on the development of a distributed antenna system and more sophisticated signal processing, which, as researchers believe, will make it possible to obtain the disposition of people in a sounding area, extract information from biological objects themselves, e.g. obtain information depicting their disposition and working condition of their organs. Proposed in the project deployment of multi-frequency sounding signals in spatially distributed radar antenna will merge the advantages of time-domain and continuous signals to produce a system with better performance. Such a system must have a larger detection range, spatial selection capability, possibility to overview the sounding space to the stage of extracting breathing and heartbeat waveforms as well as articulation features.

At development of bases of remote detection and diagnostics of the person in the previous works of scientific laboratory’s personnel, the opportunity of definition of frequency and amplitude of breath and palpitation in radar system with a continuous monochromatic signal has been experimentally confirmed. Also mathematical modeling of these processes for multi-frequency mode has been performed. In particular, it has been shown, that at a detected radar-tracking signal can be present not only main tone of breath and palpitation, but also their combinational frequencies.

Fulfillment of the researches will allow to pass to practical use of the given technology in various medical applications. In particular, now in frame of the National Project "Education" in cooperation with the Faculty “Biomedical Engineering” of Bauman University the educational stand on remote measurement of parameters of human pulse and breath is created

The research is carried out under support of Russian National Project “Education” and Scientific Program “Development of Scientific Potential of the Higher School”.